Radiation Safety System of Shanghai Synchrotron Radiation Facility

X. Xia, X. Xu, J. Xu, J. Cai, J. Wang and X. Liu

1Department of Radiation Safety, Shanghai Institute of Applied Physics, Chinese Academy of Sciences,

2019 Jialuo Road, Diading Distraict, Shanghai 201800, P.R. China

Abstract

Shanghai Synchrotron Radiation Facility (SSRF) is the first third-generation synchrotron radiation facility in China. It consists of a 0.150GeV LINAC, a full energy 3.5GeV booster, a 3.5GeV storage ring, and the first 7 beamlines.  It has been successfully completed within budget and as scheduled in April 2009, and has been opened for user operation with decay mode. Radiation safety for the SSRF facility has a high public concern due to its high operation energy and its location in the biggest city in China. This paper describes the radiation safety system and its operation status during the commissioning of SSRF in the past year.