Development and Experimental Performance Evaluation of a Dose-Rate meter for Pulsed Beam.

A. Vascotto1, M. Ballerini2, G. Merlino2, K. Casarin1, S. Sbarra1

1Sincrotrone Trieste S.C.p.A., Strada Statale S.S.14 km 163.5, 34012 Basovizza, Trieste, Italy

2Else s.r.l., Via Pier della Francesca 26, 20090 Trezzano sul Naviglio, Milano, Italy

Abstract

The detection of pulsed gamma radiation fields requires measurement devices characterized by high precision and fast response capabilities.

El.Se. s.r.l., in collaboration with Sincrotrone Trieste, developed the front-end electronics for ionization chamber detector and the associated dose-rate digital meter.

The response of the new electrometer was tested inside the linac tunnel at different beam current intensities and repetition rates. The long-term stability was evaluated through environmental radiation measurements.

The design of the electronics, the performed measurements and the obtained results are presented and discussed here.